## Energy Asset
Name Designation / Substation | Customer Name | Country of Installation | Transformer Type | Asset Group | Serial Number | Manufacturing Year | Brand | Operational status | Application | Number of Phases | Insulation type | Typ of Oil | Type of cooling equipment | Rated voltage (HV) | Rated voltage (MV) | Rated voltage (LV) | Rated power | Vector group | Number of Tap Changer | Typ of Tap Changer | Type of cooling and level
Lomonosovo |  | Russia | TRDN-63000/110 | Power Transformers | Y100003 | 2012 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 114.989 |  | 10,5-10,5 | 63 | YN/D-D-11-11 | 1 | VM III 350Y-72,5/B-10191 WR | ONAF
Yubileynaya |  | Russia | TRDN-63000/220 | Power Transformers | Y100004 | 2012 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 229.964 |  | 11 | 63 | YN/D-D-11-11 | 1 | M III 350Y-72,5/C-14273 WR | ONAF
Yubileynaya |  | Russia | TRDN-63000/220 | Power Transformers | Y100005 | 2012 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 229.964 |  | 11 | 63 | YN/D-D-11-11 | 1 | M III 350Y-72,5/C-14273 WR | ONAF
PS "CRP-7" |  | Russia | TRDN-20000/35 | Power Transformers | Y100006 | 2012 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 35 |  | 6,3-6,3 | 20 | YN/D-D-11-11 | 1 | V III 350Y-76-10193 W | ONAF
PS "CRP-7" |  | Russia | TRDN-20000/35 | Power Transformers | Y100007 | 2012 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 35 |  | 6,3-6,3 | 20 | YN/D-D-11-11 | 1 | V III 350Y-76-10193 W | ONAF
KZHD |  | Kazakhstan | TDTNZH-40000/110 | Power Transformers | Y100008 | 2012 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 | 27.5 | 11 | 40 | YN/D-D-11-11 | 1 | V III 350Y-76-10-191 WR | ONAF
KZHD |  | Kazakhstan | TDTNZH-40000/110 | Power Transformers | Y100009 | 2012 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 | 27.5 | 11 | 40 | YN/D-D-11-11 | 1 | V III 350Y-76-10-191 WR | ONAF
KZHD |  | Kazakhstan | TDTNZH-40000/110 | Power Transformers | Y100010 | 2012 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 | 27.5 | 11 | 40 | YN/D-D-11-11 | 1 | V III 350Y-76-10-191 WR | ONAF
KZHD |  | Kazakhstan | TDTNZH-40000/110 | Power Transformers | Y100011 | 2012 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 | 27.5 | 11 | 40 | YN/D-D-11-11 | 1 | V III 350Y-76-10-191 WR | ONAF
KZHD |  | Kazakhstan | TDTNZH-40000/110 | Power Transformers | Y100012 | 2012 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 | 27.5 | 11 | 40 | YN/D-D-11-11 | 1 | V III 350Y-76-10-191 WR | ONAF
Uralskaya Stal | OAO "Uralskaya Stal" | Russia | TRDN-80000/110 | Power Transformers | Y100013 | 2012 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 115 |  | 10,5-10,5 | 80 | YN/D-D-11-11 | 1 | M III 500Y-72,5/B-10 191 WR | ONAF
Mosenergo Tec-20 | PAO "Mosenergo" | Russia | ТDC-125000/220 | Power Transformers | Y100014 | 2012 | Siemens | Delivered | Generator step-up (GSU) transformer | 3 Phase Design | Fluid | GK | Fan/Pump | 242 |  | 10.5 | 125 | YN/D-11 | - | - | OFAF
Mosenergo Tec-20 | PAO "Mosenergo" | Russia | ТDC-125000/220 | Power Transformers | Y100015 | 2012 | Siemens | Delivered | Generator step-up (GSU) transformer | 3 Phase Design | Fluid | GK | Fan/Pump | 242 |  | 10.5 | 125 | YN/D-11 | - | - | OFAF
Mosenergo Tec-21 | PAO "Mosenergo" | Russia | ТDC-125000/220 | Power Transformers | Y100016 | 2012 | Siemens | Delivered | Generator step-up (GSU) transformer | 3 Phase Design | Fluid | GK | Fan/Pump | 242 |  | 10.5 | 125 | YN/D-11 | - | - | OFAF
Mosenergo Tec-21 | PAO "Mosenergo" | Russia | ТDC-125000/220 | Power Transformers | Y100017 | 2012 | Siemens | Delivered | Generator step-up (GSU) transformer | 3 Phase Design | Fluid | GK | Fan/Pump | 242 |  | 10.5 | 125 | YN/D-11 | - | - | OFAF
Mosenergo Tec-22 | PAO "Mosenergo" | Russia | ТDC-125000/220 | Power Transformers | Y100018 | 2012 | Siemens | Delivered | Generator step-up (GSU) transformer | 3 Phase Design | Fluid | GK | Fan/Pump | 115 |  | 10.5 | 125 | YN/D-11 | - | - | OFAF
Tec-4 |  | Russia | ТDC-160000/110 | Power Transformers | Y100019 | 2012 | Siemens | Delivered | Generator step-up (GSU) transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan/Pump | 121 |  | 10.5 | 160 | YN/D-11 | - | - | OFAF
Yandex | OOO "Yandex" | Russia | TRDN-63000/110 | Power Transformers | Y100020 | 2012 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 10,5-10,5 | 63 | YN/D-D-11-11 | 1 | V III 350Y-76-10 191 WR | ONAF
Yandex | OOO "Yandex" | Russia | TRDN-63000/110 | Power Transformers | Y100021 | 2012 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 10,5-10,5 | 63 | YN/D-D-11-11 | 1 | V III 350Y-76-10 191 WR | ONAF
Prakseir |  | Russia | TRDN-125000/110 | Power Transformers | Y100022 | 2012 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan | 115 |  | 10,5-10,5 | 125 | YN/D-D-11-11 | 1 | VRC III 700Y-72,5/B-12 23 3WR | ONAF
Prakseir |  | Russia | TRDN-125000/110 | Power Transformers | Y100023 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan | 115 |  | 10,5-10,5 | 125 | YN/D-D-11-11 | 1 | VRC III 700Y-72,5/B-12 23 3WR | ONAF
Sovetsko-Sosninskaya |  | Russia | ATDCTN 125000\220 | Power Transformers | Y100024 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan/Pump | 230 | 121 | 6.6 | 125 | YN аuto/D-0-11 | 1 | M I 802 170/C 14 131 WR | ONAN/ONAF/OFAF
Potapovskaya | ООО "Udmurtenergoneft" | Russia | TDTN-40000/110 | Power Transformers | Y100027 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 | 38.5 | 6.6 | 40 | YN/YN/D-0-11 | 1 | V III 350Y-76-10 191 W | ONAF
Potapovskaya | ООО "Udmurtenergoneft" | Russia | TDTN-40000/110 | Power Transformers | Y100028 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 | 38.5 | 6.6 | 40 | YN/YN/D-0-11 | 1 | V III 350Y-76-10 191 W | ONAF
Biektau | ООО "Udmurtenergoneft" | Russia | TDN-16000/35 | Power Transformers | Y100029 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 35 |  | 6.3 | 16 | YN/D-11 | 1 | V III 350 Y-76,0/-10 19 3 W | ONAF
Biektau | ООО "Udmurtenergoneft" | Russia | TDN-16000/35 | Power Transformers | Y100030 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 35 |  | 6.3 | 16 | YN/D-11 | 1 | V III 350 Y-76,0/-10 19 3 W | ONAF
VAZ Stroitelnaya | ZAO "Energetika I svyaz stroitelstva" | Russia | TDTN-40000/110 | Power Transformers | Y100031 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 115 | 38.5 | 6.6 | 40 | YN/YN/D-0-11 | 1 | V III 350 Y-76,0/-10 19 1 W | ONAF
Nyzhnekamskaya Tec | OAO "Tatneft" | Russia | ТDC-160000/220 | Power Transformers | Y100032 | 2013 | Siemens | Delivered | Generator step-up (GSU) transformer | 3 Phase Design | Fluid | GK | Fan/Pump | 242 |  | 10.5 | 160 | YN/D-11 | - | - | OFAF
Nyzhnekamskaya Tec | OAO "Tatneft" | Russia | ТDC-160000/220 | Power Transformers | Y100033 | 2013 | Siemens | Delivered | Generator step-up (GSU) transformer | 3 Phase Design | Fluid | GK | Fan/Pump | 242 |  | 10.5 | 160 | YN/D-11 | - | - | OFAF
Nyzhnekamskaya Tec | OAO "Tatneft" | Russia | TRDNS-25000/110 | Power Transformers | Y100034 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan | 115 |  | 6,3-6,3 | 25 | YN/D-D-11-11 | 1 | V III 200Y-76-10193 WR | ONAF
Nyzhnekamskaya Tec | OAO "Tatneft" | Russia | TRDNS-25000/10 | Power Transformers | Y100035 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 10.5 |  | 6,3-6,3 | 25 | D/D-D-0-0 | 1 | RS5.3 III 1250 В 41,5/K-10193 W | ONAF
Nyzhnekamskaya Tec | OAO "Tatneft" | Russia | TRDNS-25000/10 | Power Transformers | Y100036 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 10.5 |  | 6,3-6,3 | 80 | D/D-D-0-0 | 1 | RS5.3 III 1250 В 41,5/K-10193 W | ONAF
Stavrolen | Synergetic Projects/ Lukoyl | Russia | ТD-80000/110 | Power Transformers | Y100037 | 2013 | Siemens | Delivered | Generator step-up (GSU) transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 121 |  | 10.5 | 80 | YN/D-11 | - | - | ONAF
Stavrolen | Synergetic Projects/ Lukoyl | Russia | ТD-80000/110 | Power Transformers | Y100038 | 2013 | Siemens | Delivered | Generator step-up (GSU) transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 121 |  | 10.5 | 80 | YN/D-11 | - | - | ONAF
Stavrolen | Synergetic Projects/ Lukoyl | Russia | ТD-63000/110 | Power Transformers | Y100039 | 2013 | Siemens | Delivered | Generator step-up (GSU) transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 121 |  | 10.5 | 63 | YN/D-11 | - | - | ONAF
Stavrolen | Synergetic Projects/ Lukoyl | Russia | TDN-10000/110 | Power Transformers | Y100040 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 10.5 |  | 6.6 | 10 | YN/D-11 | 1 | V III 200 Y-76,0/-10 19 1 W | ONAF
Stavrolen | Synergetic Projects/ Lukoyl | Russia | TDNS-10000/110 | Power Transformers | Y100041 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 10.5 |  | 6.3 | 10 | D/D-0 | 1 | V III 350 В-40-10 19 3 W | ONAF
Stavrolen | Synergetic Projects/ Lukoyl | Russia | TDNS-10000/110 | Power Transformers | Y100042 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 10.5 |  | 6.3 | 10 | D/D-0 | 1 | V III 350 В-40-10 19 3 W | ONAF
GPP-4 |  | Russia | TRDN-63000/110 | Power Transformers | Y100043 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 6,3-6,3 | 63 | YN/D-D-11-11 | 1 | V III 350 Y-76,0/-10 19 1 W | ONAF
GPP-4 |  | Russia | TRDN-63000/110 | Power Transformers | Y100044 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 6,3-6,3 | 63 | YN/D-D-11-11 | 1 | V III 350 Y-76,0/-10 19 1 W | ONAF
TOZ |  | Russia | ТDN-25000/110 | Power Transformers | Y100045 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 6.6 | 25 | Y/D-11 | 1 | V III 200Y-76-10191W | ONAF
Tulinskaya | ООО "KvantteckhUral"/ОАО "RES" | Russia | TRDN-63000/110 | Power Transformers | Y100046 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 11--11 | 63 | YN/D-D-11-11 | 1 | V III 350 Y-76,0/-10 19 1 W | ONAF
Efremovskaya | ООО "KvantteckhUral"/ОАО "RES" | Russia | TRDN-40000/110 | Power Transformers | Y100047 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 11--11 | 40 | YN/D-D-11-11 | 1 | V III 350 Y-76,0/-10 19 1 W | ONAF
Efremovskaya | ООО "KvantteckhUral"/ОАО "RES" | Russia | TRDN-40000/110 | Power Transformers | Y100048 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 11--11 | 40 | YN/D-D-11-11 | 1 | V III 350 Y-76,0/-10 19 1 W | ONAF
Bozarik | TOO "Avrora" | Kazakhstan | ATDCTN-160000/220 | Power Transformers | Y100049 | 2016 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan/Pump | 230 | 121 | 11 | 160 | YN аuto/D-0-11 | 3 | 3xCM I 1200/126B-14131 W | ONAN/ONAF/OFAF
Bozarik | TOO "Avrora" | Kazakhstan | ATDCTN-160000/220 | Power Transformers | Y100050 | 2016 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan/Pump | 230 | 121 | 11 | 160 | YN аuto/D-0-11 | 3 | 3xCM I 1200/126B-14131 W | ONAN/ONAF/OFAF
Bozarik | TOO "Avrora" | Kazakhstan | LTMN-16000/10 | Power Transformers | Y100051 | 2016 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | - | 11 |  |  | 16 | linear,regulation | 1 | CV III-350D-40,5-12233 W | ONAN
Bozarik | TOO "Avrora" | Kazakhstan | LTMN-16000/10 | Power Transformers | Y100052 | 2016 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | - | 11 |  |  | 16 | linear,regulation | 1 | CV III-350D-40,5-12233 W | ONAN
Haryaga | ООО "KvantteckhUral"/Total РРР | Russia | TMN-25000/35 | Power Transformers | Y100053 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | - | 35 |  | 6.3 | 25 | Y/D-11 | 1 | M III 500Y-72,5/B-10 19 3 W | ONAN
Haryaga | ООО "KvantteckhUral"/Total РРР | Russia | TMN-25000/35 | Power Transformers | Y100054 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | - | 35 |  | 6.3 | 25 | Y/D-11 | 1 | M III 500Y-72,5/B-10 19 3 W | ONAN
Haryaga | ООО "KvantteckhUral"/Total РРР | Russia | TM-20000/35 | Power Transformers | Y100055 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | - | 38.5 |  | 10.5 | 20 | Y/D-11 | - | - | ONAN
Haryaga | ООО "KvantteckhUral"/Total РРР | Russia | TM-20000/35 | Power Transformers | Y100056 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | - | 38.5 |  | 10.5 | 20 | Y/D-11 | - | - | ONAN
Cargill | OOO"SIEMENS"/ООО "CARGIL" | Russia | TRDN-40000/110 | Power Transformers | Y100057 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | - | 115 |  | 10,5-10,5 | 40 | YN/D-D-11-11 | 1 | V III 350 Y-76,0/-10 19 1 W | ONAN
Belgorodskiy Tsement | OАO "Tulenergosetremont" | Russia | TRDN-40000/110 | Power Transformers | Y100058 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 6,3-6,3 | 40 | YN/D-D-11-11 | 1 | V III 350 Y-76,0/-10 19 1 W | ONAF
Kazfosfat | TOO "Kazfosfat" | Kazakhstan | TRDN-40000/220 | Power Transformers | Y100059 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 230 |  | 11--11 | 40 | YN/D-D-11-11 | 1 | MS III 300Y-72,5-14273 W | ONAF
Kazfosfat | TOO "Kazfosfat" | Kazakhstan | TRDN-40000/220 | Power Transformers | Y100060 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 230 |  | 11--11 | 40 | YN/D-D-11-11 | 1 | MS III 300Y-72,5-14273 W | ONAF
OEMK |  | Russia | TDTN-40000/110 | Power Transformers | Y100061 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 | 11 | 6.3 | 40 | YN/D-D-11-11 | 1 | V III 350 Y-76,0/-10 19 1 WR | ONAF
PS Flagman | ОАО "MOESK" | Russia | TDN-40000/110 | Power Transformers | Y100062 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan | 115 |  | 10.5 | 40 | YN/D-11 | 1 | V III 350 Y-76,0/-10 19 1 W | ONAF
PS Flagman | ОАО "MOESK" | Russia | TDN-40000/110 | Power Transformers | Y100063 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan | 115 |  | 10.5 | 40 | YN/D-11 | 1 | V III 350 Y-76,0/-10 19 1 W | ONAF
RBZ | RBZ | Kazakhstan | TDTN-40000/110 | Power Transformers | Y100064 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 | 11 | 11 | 40 | YN/D-D-11-11 | 1 | RS12-Y-400-72,5-10.19.1W | ONAF
RBZ | RBZ | Kazakhstan | TDTN-40000/110 | Power Transformers | Y100065 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 | 11 | 11 | 40 | YN/D-D-11-11 | 1 | RS12-Y-400-72,5-10.19.1W | ONAF
ESPE | ESPE | Kazakhstan | TDTNZH-40000/220 | Power Transformers | Y100066 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 230 | 27.5 | 11 | 40 | YN/D-D-11-11 | 1 | MS III 300Y-72,5/B-14273 W | ONAF
ESPE | ESPE | Kazakhstan | TDTNZH-40000/220 | Power Transformers | Y100067 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 230 | 27.5 | 11 | 40 | YN/D-D-11-11 | 1 | MS III 300Y-72,5/B-14273 W | ONAF
Yamal SPG | OOO"SIEMENS"/OAO "Yamal SPG" | Russia | TD-63000/110 | Power Transformers | Y100068 | 2014 | Siemens | Delivered | Generator step-up (GSU) transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan | 121 |  | 10.5 | 63 | YN/D-11 | - | - | ONAF
Yamal SPG | OOO"SIEMENS"/OAO "Yamal SPG" | Russia | TD-63000/110 | Power Transformers | Y100069 | 2014 | Siemens | Delivered | Generator step-up (GSU) transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan | 121 |  | 10.5 | 63 | YN/D-11 | - | - | ONAF
Yamal SPG | OOO"SIEMENS"/OAO "Yamal SPG" | Russia | TD-63000/110 | Power Transformers | Y100070 | 2014 | Siemens | Delivered | Generator step-up (GSU) transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan | 121 |  | 10.5 | 63 | YN/D-11 | - | - | ONAF
Yamal SPG | OOO"SIEMENS"/OAO "Yamal SPG" | Russia | TD-63000/110 | Power Transformers | Y100071 | 2014 | Siemens | Delivered | Generator step-up (GSU) transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan | 121 |  | 10.5 | 63 | YN/D-11 | - | - | ONAF
Yamal SPG | OOO"SIEMENS"/OAO "Yamal SPG" | Russia | TD-63000/110 | Power Transformers | Y100072 | 2014 | Siemens | Delivered | Generator step-up (GSU) transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan | 121 |  | 10.5 | 63 | YN/D-11 | - | - | ONAF
Yamal SPG | OOO"SIEMENS"/OAO "Yamal SPG" | Russia | TD-63000/110 | Power Transformers | Y100073 | 2014 | Siemens | Delivered | Generator step-up (GSU) transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan | 121 |  | 10.5 | 63 | YN/D-11 | - | - | ONAF
Yamal SPG | OOO"SIEMENS"/OAO "Yamal SPG" | Russia | TD-63000/110 | Power Transformers | Y100074 | 2014 | Siemens | Delivered | Generator step-up (GSU) transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan | 121 |  | 10.5 | 63 | YN/D-11 | - | - | ONAF
Yamal SPG | OOO"SIEMENS"/OAO "Yamal SPG" | Russia | TD-63000/110 | Power Transformers | Y100075 | 2014 | Siemens | Delivered | Generator step-up (GSU) transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan | 121 |  | 10.5 | 63 | YN/D-11 | - | - | ONAF
Yamal SPG | OOO"SIEMENS"/OAO "Yamal SPG" | Russia | TD-63000/110 | Power Transformers | Y100076 | 2014 | Siemens | Delivered | Generator step-up (GSU) transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan | 121 |  | 10.5 | 63 | YN/D-11 | - | - | ONAF
Lenenergo PS 48 | OAO "Lenenergo" | Russia | TDTN-63000/110 | Power Transformers | Y100077 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 | 38.5 | 11 | 63 | YN/YN/D-0-11 | 1 | V III 350 Y-76,0/-10 19 1 W | ONAF
Lenenergo PS 48 | OAO "Lenenergo" | Russia | TDTN-63000/110 | Power Transformers | Y100078 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 | 38.5 | 11 | 63 | YN/YN/D-0-11 | 1 | V III 350 Y-76,0/-10 19 1 W | ONAF
Lenenergo PS 526 | OAO "Lenenergo" | Russia | TRDN-63000/110 | Power Transformers | Y100079 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 11--11 | 63 | YN/D-D-11-11 | 1 | VV III 400 Y-76,0/-10 19 1 W | ONAF
Lenenergo PS 526 | OAO "Lenenergo" | Russia | TRDN-63000/110 | Power Transformers | Y100080 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 11--11 | 63 | YN/D-D-11-11 | 1 | VV III 400 Y-76,0/-10 19 1 W | ONAF
Zaragizhskie MGES | АО "Malie GES KBR" | Russia | TD-25000/110 | Power Transformers | Y100081 | 2013 | Siemens | Delivered | Generator step-up (GSU) transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 121 |  | 10.5 | 25 | YN/D-11 | - | - | ONAF
Zaragizhskie MGES | АО "Malie GES KBR" | Russia | TD-25000/110 | Power Transformers | Y100082 | 2013 | Siemens | Delivered | Generator step-up (GSU) transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 121 |  | 10.5 | 25 | YN/D-11 | - | - | ONAF
Almazovo | ОАО "MOESK" | Russia | TRDN-63000/110 | Power Transformers | Y100083 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 10,5-10,5 | 63 | YN/D-D-11-11 | 1 | V III 350 Y-76,0/-10 19 1 WR | ONAF
Almazovo | ОАО "MOESK" | Russia | TRDN-63000/110 | Power Transformers | Y100084 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 10,5-10,5 | 63 | YN/D-D-11-11 | 1 | V III 350 Y-76,0/-10 19 1 WR | ONAF
Fryazino | ОАО "MOESK" | Russia | TDTN-40000/110 | Power Transformers | Y100085 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 | 34.5 | 11 | 40 | YN/YN/D-0-11 | 1 | VV III 250 Y-76,0/-10 19 1 W | ONAF
Vodokanal | GUP "Vodokanal St-Peterburg" | Russia | TRDN-40000/110 | Power Transformers | Y100086 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 10,5-6,3 | 40 | YN/D-D-11-11 | 1 | V III 350 Y-76,0/-10 19 1 W | ONAF
Vodokanal | GUP "Vodokanal St-Peterburg" | Russia | TRDN-40000/110 | Power Transformers | Y100087 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 10,5-6,3 | 40 | YN/D-D-11-11 | 1 | V III 350 Y-76,0/-10 19 1 W | ONAF
Tyagovaya 2015 | Eurockim-HКК | Russia | TDN-16000/110 | Power Transformers | Y100088 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 11 | 16 | YN/D-11 | 1 | V III 200 Y-76,0/-10 19 1 WR | ONAF
Tyagovaya 2015 | Eurockim-HКК | Russia | TDN-16000/110 | Power Transformers | Y100089 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 11 | 16 | YN/D-11 | 1 | V III 200 Y-76,0/-10 19 1 WR | ONAF
Kronospan | ООО «Kronospan OSB» | Russia | TRDN-40000/110 | Power Transformers | Y100090 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 11--11 | 40 | YN/D-D-11-11 | 1 | V III 350 Y-76,0/-10 19 1 WR | ONAF
Kronospan | ООО «Kronospan OSB» | Russia | TRDN-40000/110 | Power Transformers | Y100091 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 11--11 | 40 | YN/D-D-11-11 | 1 | V III 350 Y-76,0/-10 19 1 WR | ONAF
Aeroport | Astana-REK | Kazakhstan | TRDN-63000/110 | Power Transformers | Y100092 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 20--20 | 63 | YN/D-D-11-11 | 1 | V III 350 Y-76,0/-10 19 1 W | ONAF
Aeroport | Astana-REK | Kazakhstan | TRDN-63000/110 | Power Transformers | Y100093 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 20--20 | 63 | YN/D-D-11-11 | 1 | V III 350 Y-76,0/-10 19 1 W | ONAF
Olimp | Astana-REK | Kazakhstan | TRDN-63000/110 | Power Transformers | Y100094 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 20--20 | 63 | YN/D-D-11-11 | 1 | V III 350 Y-76,0/-10 19 1 W | ONAF
Olimp | Astana-REK | Kazakhstan | TRDN-63000/110 | Power Transformers | Y100095 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 20--20 | 63 | YN/D-D-11-11 | 1 | V III 350 Y-76,0/-10 19 1 W | ONAF
PGV-2 | ООО «KirishiNefteOrgSintez» | Russia | TRDN-80000/110 | Power Transformers | Y100096 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan | 115 |  | 6,3-6,3 | 80 | YN/D-D-11-11 | 1 | M III 500Y-72,5/B-10 19 1 W | ONAF
Kamakaliy | Eurockim-UKK | Russia | TDTN-63000/220 | Power Transformers | Y100097 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 230 |  | 6,6-6,6 | 63 | YN/D-D-11-11 | 1 | MS III 300Y-72,5-14273 W | ONAF
Kamakaliy | Eurockim-UKK | Russia | TDTN-63000/220 | Power Transformers | Y100098 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 230 |  | 6,6-6,6 | 63 | YN/D-D-11-11 | 1 | MS III 300Y-72,5-14273 W | ONAF
Kamakaliy | Eurockim-UKK | Russia | TDTN-63000/220 | Power Transformers | Y100099 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 230 |  | 6,6-6,6 | 63 | YN/D-D-11-11 | 1 | MS III 300Y-72,5-14273 W | ONAF
Yanino-2 | ОАО "LOESK" | Russia | TRDN-63000/110 | Power Transformers | Y100100 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 10,5-10,5 | 63 | YN/D-D-11-11 | 1 | V III 350 Y-76,0/-10 19 1 W | ONAF
Yanino-2 | ОАО "LOESK" | Russia | TRDN-63000/110 | Power Transformers | Y100101 | 2013 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 10,5-10,5 | 63 | YN/D-D-11-11 | 1 | V III 350 Y-76,0/-10 19 1 W | ONAF
TEC-12 | PAO "Mosenergo" | Russia | TRDCN-100000/110 | Power Transformers | Y100102 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan/Pump | 115 |  | 11--11 | 100 | YN/D-D-11-11 | 1 | M III 600Y-72,5/B-10 19 1 W | OFAF
TEC-12 | PAO "Mosenergo" | Russia | TRDCN-100000/110 | Power Transformers | Y100103 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan/Pump | 115 |  | 11--11 | 100 | YN/D-D-11-11 | 1 | M III 600Y-72,5/B-10 19 1 W | OFAF
BMZ(PS_Stal) | OAO "BMZ" | Russia | TRDN-100000/110 | Power Transformers | Y100104 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 11--11 | 100 | YN/YN-YN-0-0 | 1 | M III 600Y-72,5/B-10 19 3 W | ONAF
BMZ(PS_Stal) | OAO "BMZ" | Russia | TRDN-100000/110 | Power Transformers | Y100105 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 11--11 | 100 | YN/YN-YN-0-0 | 1 | M III 600Y-72,5/B-10 19 3 W | ONAF
Vankor |  |  | ATDCTN-125000/220 | Power Transformers | Y100106 |  | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | [7 empty] | 1
Vankor |  |  | ATDCTN-125000/220 | Power Transformers | Y100107 |  | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | [7 empty] | 1
Erementau | VES "Еerementau 1" | Kazakhstan | TDTN-63000/220 | Power Transformers | Y100108 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 230 |  | 38.5 | 63 | YN/YN-0 | 1 | MS III 300Y-72,5-14273 W | ONAF
Kotlovka | ООО "RIT"/АО "OEK" | Russia | TRDCN-200000/220 | Power Transformers | Y100110 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan/Pump | 230 |  | 22-22 | 200 | YN/YN-YN-0-0 | 1 | M III 600Y-72,5/B-10 19 1 W | OFAF
Kotlovka | ООО "RIT"/АО "OEK" | Russia | TRDCN-200000/220 | Power Transformers | Y100111 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan/Pump | 230 |  | 22-22 | 200 | YN/YN-YN-0-0 | 1 | M III 600Y-72,5/B-10 19 1 W | OFAF
Trebsa-Titova |  |  | ATDCTN-63000/220 | Power Transformers | Y100112 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan | 230 | 121 | 38.5 | 63 | YN auto/D-0-11 | 3 | 3xVRC I 401-170/B-10193 W | ONAF
Trebsa-Titova |  |  | ATDCTN-63000/220 | Power Transformers | Y100113 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan/Pump | 230 | 121 | 38.5 | 63 | YN auto/D-0-11 | 3 | 3xVRC I 401-170/B-10193 W | OFAF
Olovozavodskaya | АО "RES" | Russia | TRDN-63000/110 | Power Transformers | Y100114 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan | 115 |  | 11--11 | 63 | YN/D-D-11-11 | 1 | V III 350 Y-76,0/-10 19 1 W | ONAF
Olovozavodskaya | АО "RES" | Russia | TRDN-63000/110 | Power Transformers | Y100115 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan | 115 |  | 11--11 | 63 | YN/D-D-11-11 | 1 | V III 350 Y-76,0/-10 19 1 W | ONAF
Ulan Bator | ZAO "ROTEK"/ АО"TEC-4" | Mongolia | TDC-160000/220 | Power Transformers | Y100116 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan/Pump | 242 |  | 10.5 | 160 | YN/D-11 | - | - | OFAF
TEC-17 | ООО "PPTK"/PAO "Mosenergo" | Russia | TDN-40000/110 | Power Transformers | Y100117 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 10.5 | 40 | YN/D-11 | 1 | V III 350 Y-76,0/-10 19 1 W | ONAF
Centralnaya | ОАО "TGK-1" | Russia | TD-80000/110 | Power Transformers | Y100118 | 2014 | Siemens | Delivered | Generator step-up (GSU) transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 121 |  | 10.5 | 80 | YN/D-11 | - | - | ONAF
Centralnaya | ОАО "TGK-1" | Russia | TD-80000/110 | Power Transformers | Y100119 | 2014 | Siemens | Delivered | Generator step-up (GSU) transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 121 |  | 10.5 | 80 | YN/D-11 | - | - | ONAF
TAIF-NK | ОАО"TAIF-NK" | Russia | TRDCN-100000/110 | Power Transformers | Y100120 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan/Pump | 115 |  | 10,5-10,5 | 100 | YN/D-D-11-11 | 1 | M III 600Y-72,5/B-10 19 1 | OFAF
TAIF-NK | ОАО"TAIF-NK" | Russia | TRDCN-100000/110 | Power Transformers | Y100121 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan/Pump | 115 |  | 10,5-10,5 | 100 | YN/D-D-11-11 | 1 | M III 600Y-72,5/B-10 19 1 | OFAF
TAIF-NK | ОАО"TAIF-NK" | Russia | TRDCN-100000/110 | Power Transformers | Y100122 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan/Pump | 115 |  | 10,5-10,5 | 100 | YN/D-D-11-11 | 1 | M III 600Y-72,5/B-10 19 1 | OFAF
Uralkaliy | PAO "Uralkaliy" | Russia | ATDCTN-125000/220 | Power Transformers | Y100123 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan/Pump | 230 | 121 | 6.6 | 125 | YN auto/D-0-11 | 3 | 3xM I 802-170/C-14131 WR | OFAF
Uralkaliy | PAO "Uralkaliy" | Russia | ATDCTN-125000/220 | Power Transformers | Y100124 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan/Pump | 230 | 121 | 6.6 | 125 | YN auto/D-0-11 | 3 | 3xM I 802-170/C-14131 WR | OFAF
Uralkaliy | PAO "Uralkaliy" | Russia | TRDN-63000/110 | Power Transformers | Y100125 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 6,6-6,6 | 63 | YN/D-D-11-11 | 1 | V III 350 Y-76,0/-10 19 1 WR | ONAF
Uralkaliy | PAO "Uralkaliy" | Russia | TRDN-63000/110 | Power Transformers | Y100126 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 6,6-6,6 | 63 | YN/D-D-11-11 | 1 | V III 350 Y-76,0/-10 19 1 WR | ONAF
Uralkaliy | PAO "Uralkaliy" | Russia | TRDN-40000/110 | Power Transformers | Y100127 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 11--11 | 40 | YN/D-D-11-11 | 1 | V III 350 Y-76,0/-10 19 1 WR | ONAF
Uralkaliy | PAO "Uralkaliy" | Russia | TRDN-40000/110 | Power Transformers | Y100128 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 11--11 | 40 | YN/D-D-11-11 | 1 | V III 350 Y-76,0/-10 19 1 WR | ONAF
Uralkaliy | PAO "Uralkaliy" | Russia | TRDN-25000/110 | Power Transformers | Y100129 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 6,6-6,6 | 25 | YN/D-D-11-11 | 1 | V III 200 Y-76,0/-10 19 1 WR | ONAF
Uralkaliy | PAO "Uralkaliy" | Russia | TRDN-25000/110 | Power Transformers | Y100130 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 6,6-6,6 | 25 | YN/D-D-11-11 | 1 | V III 200 Y-76,0/-10 19 1 WR | ONAF
PS Vostok | ООО "NPO "SPb EK" | Russia | TRDN-63000/110 | Power Transformers | Y100131 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 22-22 | 63 | YN/D-D-11-11 | 1 | VV III 400 Y-76,0/-10 19 1 WR | ONAF
PS Vostok | ООО "NPO "SPb EK" | Russia | TRDN-63000/110 | Power Transformers | Y100132 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 22-22 | 63 | YN/D-D-11-11 | 1 | VV III 400 Y-76,0/-10 19 1 WR | ONAF
Izmailovskaya Perspektiva | ООО "ABB" | Russia | TRDN-63000/110 | Power Transformers | Y100133 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 11--11 | 63 | YN/D-D-11-11 | 1 | V III 350 Y-76,0/-10 19 1 W | ONAF
Izmailovskaya Perspektiva | ООО "ABB" | Russia | TRDN-63000/110 | Power Transformers | Y100134 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 11--11 | 63 | YN/D-D-11-11 | 1 | V III 350 Y-76,0/-10 19 1 W | ONAF
Yamal-2 | OOO"SIEMENS"/OAO "Novatek" | Russia | TDN-125000/110 | Power Transformers | Y100135 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Midel 7131 | Fan | 110 |  | 36.6 | 125 | YN/D-D-11-11 | 1 | VRC III 700Y-72,5/D-12233G | ONAF
Yamal-2 | OOO"SIEMENS"/OAO "Novatek" | Russia | TDN-125000/110 | Power Transformers | Y100136 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Midel 7131 | Fan | 110 |  | 36.6 | 125 | YN/D-D-11-11 | 1 | VRC III 700Y-72,5/D-12233G | ONAF
Yamal-2 | OOO"SIEMENS"/OAO "Novatek" | Russia | TDN-85000/110 | Power Transformers | Y100137 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Midel 7131 | Fan | 110 |  | 36.6 | 85 | YN/D-D-11-11 | 1 | VM III 500Y-72,5/C-12233G | ONAF
Yamal-2 | OOO"SIEMENS"/OAO "Novatek" | Russia | TDN-85000/110 | Power Transformers | Y100138 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Midel 7131 | Fan | 110 |  | 36.6 | 85 | YN/D-D-11-11 | 1 | VM III 500Y-72,5/C-12233G | ONAF
Yamal-2 | OOO"SIEMENS"/OAO "Novatek" | Russia | TDN-85000/110 | Power Transformers | Y100139 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Midel 7131 | Fan | 110 |  | 36.6 | 85 | YN/D-D-11-11 | 1 | VM III 500Y-72,5/C-12233G | ONAF
Yamal-2 | OOO"SIEMENS"/OAO "Novatek" | Russia | TDN-85000/110 | Power Transformers | Y100140 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Midel 7131 | Fan | 110 |  | 36.6 | 85 | YN/D-D-11-11 | 1 | VM III 500Y-72,5/C-12233G | ONAF
Yamal-2 | OOO"SIEMENS"/OAO "Novatek" | Russia | TDN-85000/110 | Power Transformers | Y100141 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Midel 7131 | Fan | 110 |  | 36.6 | 85 | YN/D-D-11-11 | 1 | VM III 500Y-72,5/C-12233G | ONAF
Yamal-2 | OOO"SIEMENS"/OAO "Novatek" | Russia | TDN-85000/110 | Power Transformers | Y100142 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Midel 7131 | Fan | 110 |  | 36.6 | 85 | YN/D-D-11-11 | 1 | VM III 500Y-72,5/C-12233G | ONAF
Yamal-2 | OOO"SIEMENS"/OAO "Novatek" | Russia | TN-63000/35 | Power Transformers | Y100143 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Midel 7131 | - | 35 |  | 10.5 | 63 | D/YN-11 | - | - | ONAN
Yamal-2 | OOO"SIEMENS"/OAO "Novatek" | Russia | ТN-63000/35 | Power Transformers | Y100144 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Midel 7131 | - | 35 |  | 10.5 | 63 | D/YN-11 | - | - | ONAN
Yamal-2 | OOO"SIEMENS"/OAO "Novatek" | Russia | TN-40000/35 | Power Transformers | Y100145 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Midel 7131 | - | 35 |  | 10.5 | 40 | D/YN-11 | - | - | ONAN
Yamal-2 | OOO"SIEMENS"/OAO "Novatek" | Russia | TN-40000/35 | Power Transformers | Y100146 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Midel 7131 | - | 35 |  | 10.5 | 40 | D/YN-11 | - | - | ONAN
Yamal-2 | OOO"SIEMENS"/OAO "Novatek" | Russia | TN-40000/35 | Power Transformers | Y100147 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Midel 7131 | - | 35 |  | 10.5 | 40 | D/YN-11 | - | - | ONAN
Yamal-2 | OOO"SIEMENS"/OAO "Novatek" | Russia | TN-40000/35 | Power Transformers | Y100148 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Midel 7131 | - | 35 |  | 10.5 | 40 | D/YN-11 | - | - | ONAN
Yamal-2 | OOO"SIEMENS"/OAO "Novatek" | Russia | ТN-40000/35 | Power Transformers | Y100149 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Midel 7131 | - | 35 |  | 10.5 | 40 | D/YN-11 | - | - | ONAN
Yamal-2 | OOO"SIEMENS"/OAO "Novatek" | Russia | ТN-40000/35 | Power Transformers | Y100150 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Midel 7131 | - | 35 |  | 10.5 | 40 | D/YN-11 | - | - | ONAN
Yamal-2 | OOO"SIEMENS"/OAO "Novatek" | Russia | ТN-31500/35 | Power Transformers | Y100151 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Midel 7131 | - | 35 |  | 10.5 | 31.5 | D/YN-11 | - | - | ONAN
Yamal-2 | OOO"SIEMENS"/OAO "Novatek" | Russia | ТN-31500/35 | Power Transformers | Y100152 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Midel 7131 | - | 35 |  | 10.5 | 31.5 | D/YN-11 | - | - | ONAN
Yamal-2 | OOO"SIEMENS"/OAO "Novatek" | Russia | ТN-31500/35 | Power Transformers | Y100153 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Midel 7131 | - | 35 |  | 10.5 | 31.5 | D/YN-11 | - | - | ONAN
Yamal-2 | OOO"SIEMENS"/OAO "Novatek" | Russia | ТN-31500/35 | Power Transformers | Y100154 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Midel 7131 | - | 35 |  | 10.5 | 31.5 | D/YN-11 | - | - | ONAN
Yamal-2 | OOO"SIEMENS"/OAO "Novatek" | Russia | ТN-20000/35 | Power Transformers | Y100155 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Midel 7131 | - | 35 |  | 10.5 | 20 | D/YN-11 | - | - | ONAN
Yamal-2 | OOO"SIEMENS"/OAO "Novatek" | Russia | ТN-20000/35 | Power Transformers | Y100156 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Midel 7131 | - | 35 |  | 10.5 | 20 | D/YN-11 | - | - | ONAN
Yamal-2 | OOO"SIEMENS"/OAO "Novatek" | Russia | TMN-50000/110 | Power Transformers | Y100157 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Midel 7131 | - | 110 |  | 10.5 | 50 | YN/YN/D-0-11 | 1 | VM III 350-72,5/C 10 19 1 G | ONAN
Yamal-2 | OOO"SIEMENS"/OAO "Novatek" | Russia | TMN-50000/110 | Power Transformers | Y100158 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Midel 7131 | - | 110 |  | 10.5 | 50 | YN/YN/D-0-11 | 1 | VM III 350-72,5/C 10 19 1 G | ONAN
Yamal-2 | OOO"SIEMENS"/OAO "Novatek" | Russia | TM-16000/35 | Power Transformers | Y100159 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Midel 7131 | - | 35 |  | 10.5 | 16 | D/YN-11 | - | - | ONAN
Yamal-2 | OOO"SIEMENS"/OAO "Novatek" | Russia | TM-16000/35 | Power Transformers | Y100160 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Midel 7131 | - | 35 |  | 10.5 | 16 | D/YN-11 | - | - | ONAN
Apatity | ООО NPO "SPb EK"/ ОАО "Apatit" | Russia | TDTN-63000/150 | Power Transformers | Y100161 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan | 158 | 38.5 | 6.6 | 16 | YN/YN/D-0-11 | 1 | V III 350 Y-123,0/-10 19 3 W | ONAF
Apatity | ООО NPO "SPb EK"/ ОАО "Apatit" | Russia | TDTN-63000/150 | Power Transformers | Y100162 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan | 158 | 38.5 | 6.6 | 16 | YN/YN/D-0-11 | 1 | V III 350 Y-123,0/-10 19 3 W | ONAF
Rudnichnaya | ТОО"Siemens"/ООО"Eurochim" | Kazakhstan | TDN-40000/110 | Power Transformers | Y100163 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 6.6 | 40 | YN/D-11 | 1 | V III 200 Y-76,0/-10 19 1 W | ONAF
Rudnichnaya | ТОО"Siemens"/ООО"Eurochim" | Kazakhstan | TDN-40000/110 | Power Transformers | Y100164 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 6.6 | 40 | YN/D-11 | 1 | V III 200 Y-76,0/-10 19 1 W | ONAF
Promyshlennaya | АО "PREK" | Kazakhstan | ATDCTN-125000/220 | Power Transformers | Y100165 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan/Pump | 230 | 121 | 10.5 | 125 | YN auto/D-0-11 | 3 | 3xRS9.3-I-630-170/M 14 13 1 W | ONAN/ONAF/OFAF
Promyshlennaya | АО "PREK" | Kazakhstan | ATDCTN-125000/220 | Power Transformers | Y100166 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan/Pump | 230 | 121 | 10.5 | 125 | YN auto/D-0-11 | 3 | 3xRS9.3-I-630-170/M 14 13 1 W | ONAN/ONAF/OFAF
TermoGasMachala | ENEX energoexpert/CELEC EP | Ekvador | TD-200000/230 | Power Transformers | Y100167 | 2014 | Siemens | Delivered | Generator step-up (GSU) transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan | 230 |  | 13.8 | 200 | YN/D-1 | - | - | ONAF
TermoGasMachala | ENEX energoexpert/CELEC EP | Ekvador | ATDT-250000/230 | Power Transformers | Y100168 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan | 230 |  | 13.8 | 250 | YNa0d1 | - | - | ONAN/ONAF1/ONAF2
TermoGasMachala | ENEX energoexpert/CELEC EP | Ekvador | TD-125000/230 | Power Transformers | Y100169 | 2015 | Siemens | Delivered | Generator step-up (GSU) transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan | 230 |  | 13.8 | 125 | YNd1 | - | - | ONAN/ONAF1/ONAF2
TermoGasMachala | ENEX energoexpert/CELEC EP | Ekvador | TD-125000/230 | Power Transformers | Y100170 | 2015 | Siemens | Delivered | Generator step-up (GSU) transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan | 230 |  | 13.8 | 125 | YNd1 | - | - | ONAN/ONAF1/ONAF2
TermoGasMachala | ENEX energoexpert/CELEC EP | Ekvador | TD-125000/230 | Power Transformers | Y100171 | 2015 | Siemens | Delivered | Generator step-up (GSU) transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan | 230 |  | 13.8 | 125 | YNd1 | - | - | ONAN/ONAF1/ONAF2
TermoGasMachala | ENEX energoexpert/CELEC EP | Ekvador | TD-16000/15 | Power Transformers | Y100172 | 2015 | Siemens | Delivered | Generator step-up (GSU) transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan | 13.8 | 138 | 4.16 | 16 | Dd0 | - | - | ONAF
TermoGasMachala | ENEX energoexpert/CELEC EP | Ekvador | TD-16000/15 | Power Transformers | Y100173 | 2015 | Siemens | Delivered | Generator step-up (GSU) transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan | 13.8 |  | 4.16 | 16 | Dd0 | - | - | ONAF
Dunga | FK "Maersk Oil Kazakhstan Gmbh" | Kazakhstan | TDN-16000/35 | Power Transformers | Y100174 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan | 36.75 |  | 5.5 | 16 | YN/D-11 | 1 | V III 350Y-76,0-10193 W | ONAF
Dunga | FK "Maersk Oil Kazakhstan Gmbh" | Kazakhstan | TDN-16000/35 | Power Transformers | Y100175 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 10XN | Fan | 36.75 |  | 5.5 | 16 | YN/D-11 | 1 | V III 350Y-76,0-10193 W | ONAF
Electron | ОАО FSK EES | Russia | ATDCTN-125000/220 | Power Transformers | Y100176 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan/Pump | 230 | 121 | 10.5 | 125 | YN auto/D-0-11 | 3 | 3xM I 802-170/C-14 131W | ONAN/ONAF/OFAF
Taraz |  | Kazakhstan | TDTN-125000/220 | Power Transformers | Y100177 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 230 | 36.6 | 10.5 | 125 | YN/YN/D-0-11 | 1 | RS 9.3 III Y 400 – 72.5 / K 14.27.3W | ONAF
Taraz |  | Kazakhstan | TDTN-125000/220 | Power Transformers | Y100178 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 230 | 36.6 | 10.5 | 125 | YN/YN/D-0-11 | 1 | RS 9.3 III Y 400 – 72.5 / K 14.27.3W | ONAF
TOZ 2 | ОАО "TOZ" | Russia | TDN-25000/110 | Power Transformers | Y100179 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 6.6 | 25 | YN/D-11 | 1 | V III 200Y-76-10 191WR | ONAF
|  |  |  | Power Transformers | Y100180 (Y100079) |  | Siemens | Delivered |  | 3 Phase Design | Fluid |  | Fan | [5 empty] | 1
|  |  |  | Power Transformers | Y100181 (Y100080) |  | Siemens | Delivered |  | 3 Phase Design | Fluid |  | Fan | [5 empty] | 1
TEC-9 Mosenergo | PAO "Mosenergo" | Russia | TD-80000/110 | Power Transformers | Y100182 | 2014 | Siemens | Delivered | Generator step-up (GSU) transformer | 3 Phase Design | Fluid | GK | Fan | 121 |  | 10.5 | 80 | YN/D-11 | 1 | - | ONAF
Klayzma | ОАО "MOESK" | Russia | TDN-63000/110 | Power Transformers | Y100183 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 6.6 | 63 | YN/D-11 | 1 | V III 350 Y-76.0-10 19 1 W | ONAF
Klayzma | ОАО "MOESK" | Russia | TDN-63000/110 | Power Transformers | Y100184 | 2014 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 115 |  | 6.6 | 63 | YN/D-11 | 1 | V III 350 Y-76.0-10 19 1 W | ONAF
|  |  |  | Power Transformers | Y100185 |  | Siemens | Delivered |  | 3 Phase Design | Fluid
|  |  |  | Power Transformers | Y100186 |  | Siemens | Delivered |  | 3 Phase Design | Fluid
Bersenevskaya | ОАО "OEK" | Russia | TDCTN-160000/110 | Power Transformers | Y100187 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Midel 7131 | Fan/Pump | 115 | 22 | 11 | 160 | YN/YN/D-0-11 | 2 | VRD III 1000Y-72,5/C-10 19 1WR, VM III 350Y-72,5/C-10 19 3WR | OFAF
Bersenevskaya | ОАО "OEK" | Russia | TDCTN-160000/110 | Power Transformers | Y100188 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Midel 7131 | Fan/Pump | 115 | 22 | 11 | 160 | YN/YN/D-0-11 | 2 | VRD III 1000Y-72,5/C-10 19 1WR, VM III 350Y-72,5/C-10 19 3WR | OFAF
Bersenevskaya | ОАО "OEK" | Russia | TRDN-40000/22 | Power Transformers | Y100189 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Midel 7131 | Fan | 22 |  | 6,3-6,3 | 40 | YN/D-D-11-11 | 1 | VRD III 1300Y–72.5/C-10193 W | ONAF
Bersenevskaya | ОАО "OEK" | Russia | TRDN-40000/22 | Power Transformers | Y100190 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Midel 7131 | Fan | 22 |  | 6,3-6,3 | 40 | YN/D-D-11-11 | 1 | VRD III 1300Y–72.5/C-10193 W | ONAF
MMPS | OOO "Politekh" | Russia | TDCN-25000/110 | Power Transformers | Y100191 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan/Pump | 115 |  | 10,5 (6,3) | 25 | YN/D-11(D-11) | 1 | V III 200 Y – 76.0 / 10 19 1 WR | OFAF
Bayterek |  | Kazakhstan | TRDN-63000/110 | Power Transformers | Y100192 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 115 |  | 20--20 | 63 | YN/D-D-11-11 | 1 | RS 12 Y 400 72,5 10 19 1W | ONAF
Bayterek |  | Kazakhstan | TRDN-63000/110 | Power Transformers | Y100193 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 115 |  | 20--20 | 63 | YN/D-D-11-11 | 1 | RS 12 Y 400 72,5 10 19 1W | ONAF
PS Gagarin | ООО"SIEMENS"/ ООО"EGGER" | Russia | TDN-50000/110 | Power Transformers | Y100194 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 115 |  | 10.5 | 50 | YN/D-11 | 1 | V III 350Y-76,0-10191WR | ONAF
PS Gagarin | ООО"SIEMENS"/ ООО"EGGER" | Russia | TDN-50000/110 | Power Transformers | Y100195 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 115 |  | 10.5 | 50 | YN/D-11 | 1 | V III 350Y-76,0-10191WR | ONAF
NPZ "Aphipskiy" | ZAO "Mosproektstroy"/ ООО "Aphipskiy NPZ" | Russia | ATRDCTN-250000/220 | Power Transformers | Y100197 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan/Pump | 230 | 121 | 11 | 250 | Yн auto/D-D-11-11 | 1 | M III 600 Y-72,5/C-14273 WR | OFAF
NPZ "Aphipskiy" | ZAO "Mosproektstroy"/ ООО "Aphipskiy NPZ" | Russia | ATRDCTN-250000/220 | Power Transformers | Y100198 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan/Pump | 230 | 121 | 11 | 250 | Yн auto/D-D-11-11 | 1 | M III 600 Y-72,5/C-14273 WR | OFAF
PS Stal | OOO Tulachermet-Stal | Russia | TDCNM-63000/220 | Power Transformers | Y100199 | 2016 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan/Pump | 220 |  | 35 | 63 | YN/D-11 | 1 | MS III 300 Y-72,5-10193 WR | OFAF
PS Stal | OOO Tulachermet-Stal | Russia | TRDCFNM-80000/125000/220 | Power Transformers | Y100200 | 2016 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan/Pump | 220 |  | 10,5-10,5 | 80/125 | YN/D-D-11-11 | 1 | MS III 300 Y-72,5/В-10193 WR | OFAF-Force
PS Stal | OOO Tulachermet-Stal | Russia | TRDCFNM-80000/125000/220 | Power Transformers | Y100201 | 2016 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan/Pump | 220 |  | 10,5-10,5 | 80/125 | YN/D-D-11-11 | 1 | MS III 300 Y-72,5/В-10193 WR | OFAF-Force
Sokpar |  | Russia | TDTN-63000/220 | Power Transformers | Y100202 |  | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | [7 empty] | 1
Sokpar |  | Russia | TDTN-63000/220 | Power Transformers | Y100203 |  | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | [7 empty] | 1
Sokpar |  | Russia | TDTN-63000/220 | Power Transformers | Y100204 |  | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | [7 empty] | 1
Sokpar |  | Russia | TDTN-63000/220 | Power Transformers | Y100205 |  | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | [7 empty] | 1
Industrialnaya |  | Russia | TRDN-125000/110 | Power Transformers | Y100206 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 220 |  | 10,5-10,5 | 125 | YN/D-D-11-11 | 1 | RSV 9,3 III-700Y-72,5/K-10191W | ONAF
Industrialnaya |  | Russia | TRDN-125000/110 | Power Transformers | Y100207 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 220 |  | 10,5-10,5 | 125 | YN/D-D-11-11 | 1 | RSV 9,3 III-700Y-72,5/K-10191W | ONAF
Buzmein | "Belent jai" | Turkmenistan | TDTN-40000/110 | Power Transformers | Y100208 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 110 | 36.75 | 10,5 (6,3) | 40 | YN/YN/D-0-11 | 1 | V III 350Y-76,0/ 10191W | ONAF
Buzmein | "Belent jai" | Turkmenistan | TDTN-40000/110 | Power Transformers | Y100209 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 110 | 36.75 | 10,5 (6,3) | 40 | YN/YN/D-0-11 | 1 | V III 350Y-76,0/ 10191W | ONAF
Innopolis_Kazan | ОАО "OEZ ИInnopolis" | Russia | TRDN-63000/110 | Power Transformers | Y100210 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 115 |  | 10,5-10,5 | 63 | YN/D-D-11-11 | 1 | V III 350Y-76 10191 | ONAF
Innopolis_Kazan | ОАО "OEZ ИInnopolis" | Russia | TRDN-63000/110 | Power Transformers | Y100211 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 115 |  | 10,5-10,5 | 63 | YN/D-D-11-11 | 1 | V III 350Y-76 10191 | ONAF
Kokzhailau | TOO "Avrora" | Kazakhstan | TRMN-40000/110 | Power Transformers | Y100212 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 115 |  | 10,5-10,5 | 40 | YN/D-D-11-11 | 1 | CV III 350Y-72,5-10191W | ONAF
Kokzhailau | TOO "Avrora" | Kazakhstan | TRMN-40000/110 | Power Transformers | Y100213 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 115 |  | 10,5-10,5 | 40 | YN/D-D-11-11 | 1 | CV III 350Y-72,5-10191W | ONAF
Iput_PS | ОАО "Gomelenergo" | Belarus | TRDN-63000/110 | Power Transformers | Y100214 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 115 |  | 11--11 | 63 | YN/D-D-11-11 | 1 | RSV 9,3 III-400Y-72,5/K-10191W | ONAF
Iput_PS | ОАО "Gomelenergo" | Belarus | TRDN-63000/110 | Power Transformers | Y100215 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 115 |  | 11--11 | 63 | YN/D-D-11-11 | 1 | RSV 9,3 III-400Y-72,5/K-10191W | ONAF
Gryazi_PS | OAO "RZHD" | Russia | TDTNZH-40000/220 | Power Transformers | Y100218 | 2016 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 230 | 38.5 | 27.5 | 40 | YN/YN/D-0-11 | 1 | MS III 300 Y-72,5/B-14273 W | ONAF
Cargill Novoannenskiy | OOO "Kargill" | Russia | ТDN-10000/110 | Power Transformers | Y100220 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 115 |  | 10.5 | 10 | YN/D-11 | 1 | RS 12 III 200Y - 72,5 -10191W | ONAF
Cargill Novoannenskiy | OOO "Kargill" | Russia | ТDN-10000/110 | Power Transformers | Y100221 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 115 |  | 10.5 | 10 | YN/D-11 | 1 | RS 12 III 200Y - 72,5 -10191W | ONAF
Apatity |  | Russia | TDTN-63000/150 | Power Transformers | Y100222 |  | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | [5 empty] | 1 |  | ONAF
Apatity |  | Russia | TDTN-63000/150 | Power Transformers | Y100223 |  | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | [5 empty] | 1 |  | ONAF
TRAFO | STV | Russia | TRDNS-40000/110 | Power Transformers | Y100224 | 2016 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 121 |  | 6,3-6,3 | 40 | YN/D-D-11-11 | 1 | CV III 350Y-72,5-10191W | ONAF
PS "Pavlodarskaya" |  | Kazakhstan | ATDTN-125000/220 | Power Transformers | Y100225 | 2016 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 230 | 121 | 10.5 | 125 | YN auto/D-0-11 | 3 | 3xVRC I 701-123.0/B-14 131W | ONAF
PS "Pavlodarskaya" |  | Kazakhstan | ATDTN-125000/220 | Power Transformers | Y100226 | 2016 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 230 | 121 | 10.5 | 125 | YN auto/D-0-11 | 3 | 3xVRC I 701-123.0/B-14 131W | ONAF
Moglino | ООО "ZETO SMP Severo-zapad" | Russia | TRDN-40000/110 | Power Transformers | Y100227 | 2016 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 115 |  | 10,5-10,5 | 40 | YN/D-D-11-11 | 1 | RS12-Y–400-72.5-10191WR | ONAF
Moglino | ООО "ZETO SMP Severo-zapad" | Russia | TRDN-40000/110 | Power Transformers | Y100228 | 2016 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 115 |  | 10,5-10,5 | 40 | YN/D-D-11-11 | 1 | RS12-Y–400-72.5-10191WR | ONAF
Lebedinskiy GOK | OOO Lebedinskiy GOK | Russia | TRDN-63000/110 | Power Transformers | Y100229 | 2016 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 115 |  | 6,3-6,3 | 63 | YN/D-D-11-11 | 1 | RS12 Y 400 – 72.5-10191W | ONAF
Lebedinskiy GOK | OOO Lebedinskiy GOK | Russia | TRDN-63000/110 | Power Transformers | Y100230 | 2016 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 115 |  | 6,3-6,3 | 63 | YN/D-D-11-11 | 1 | RS12 Y 400 – 72.5-10191W | ONAF
PS "Birulevo" | ООО "GK Aksiomatika" | Russia | TDCTN-100000/110 | Power Transformers | Y100231 | 2016 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan/Pump | 115 | 11 | 6.9 | 100 | YN/D-D-11-11 | 1 | VM III 650Y-72,5/B-10 191WR | OFAF
PS "Birulevo" | ООО "GK Aksiomatika" | Russia | TDCTN-100000/110 | Power Transformers | Y100232 | 2016 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan/Pump | 115 | 11 | 6.9 | 100 | YN/D-D-11-11 | 1 | VM III 650Y-72,5/B-10 191WR | OFAF
PS "Samarskaya" |  | Russia | TRDCN-125000/110 | Power Transformers | Y100233 | 2016 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan/Pump | 115 |  | 10,5-10,5 | 125 | YN/D-D-11-11 | 1 | VRC III 700 Y 72.5 / B-10 19 1 W | OFAF
PS "Samarskaya" |  | Russia | TRDCN-125000/110 | Power Transformers | Y100234 | 2016 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan/Pump | 115 |  | 10,5-10,5 | 125 | YN/D-D-11-11 | 1 | VRC III 700 Y 72.5 / B-10 19 1 W | OFAF
Gadzhievo | ООО "TransSnab" | Russia | TDN-40000/150 | Power Transformers | Y100235 | 2016 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 158 |  | 38.5 | 40 | YN/D-11 | 1 | RS12 Y 200-72.5/ 10193 W | ONAF
Gadzhievo | ООО "TransSnab" | Russia | TDN-40000/150 | Power Transformers | Y100236 | 2016 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 158 |  | 38.5 | 40 | YN/D-11 | 1 | RS12 Y 200-72.5/ 10193 W | ONAF
Gadzhievo | ООО "TransSnab" | Russia | TDN-25000/35 | Power Transformers | Y100237 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 38.5 |  | 6.3 | 25 | YN/D-11 | 1 | RS12 Y III 400-72.5 – 10 19 3W | ONAF
Gadzhievo | ООО "TransSnab" | Russia | TDN-25000/35 | Power Transformers | Y100238 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 38.5 |  | 6.3 | 25 | YN/D-11 | 1 | RS12 Y III 400-72.5 – 10 19 3W | ONAF
Gadzhievo | ООО "TransSnab" | Russia | TDN-16000/35 | Power Transformers | Y100239 | 2016 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 38.5 |  | 6.3 | 16 | YN/D-11 | 1 | RS12 Y400-72.5 – 10 19 3W | ONAF
Gadzhievo | ООО "TransSnab" | Russia | TDN-16000/35 | Power Transformers | Y100240 | 2016 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 38.5 |  | 6.3 | 16 | YN/D-11 | 1 | RS12 Y400-72.5 – 10 19 3W | ONAF
Kiziloordinskaya TEC-3 | ТОО "Tech-Service Kiziloorda | Kazakhstan | TDTN-63000/220 | Power Transformers | Y100241 | 2016 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 230 | 38.5 | 10.5 | 63 | YN/YN/D-0-11 | 1 | CM III 500Y-72,5B-14 273W | ONAF
PS Lebedi | OOO Lebedinskiy GOK | Russia | ATDCTN-200000/330 | Power Transformers | Y100242 | 2016 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan/Pump | 330 | 115 | 38.5 | 200 | YN auto/D-0-11 | 3 | 3хM I 1203-170/C-14 13 1WR | OFAF
Donbiotech |  | Russia | TRDN-40000/220 | Power Transformers | Y100245 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 230 |  | 10,5-10,5 | 40 | YN/D-D-11-11 | 1 | CM III 500Y-72,5/B-14 273WR | ONAF
Donbiotech |  | Russia | TRDN-40000/220 | Power Transformers | Y100246 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | Nynas Nytro 11GX | Fan | 230 |  | 10,5-10,5 | 40 | YN/D-D-11-11 | 1 | CM III 500Y-72,5/B-14 273WR | ONAF
Prommashkomplekt |  | Russia | TRDN-40000/220 | Power Transformers | Y100247 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 230 | 38.5 | 11 | 40 | YN/YN/D-0-11 | 1 | CM2 III 500Y-72,5/C-10 191WR | ONAF
Prommashkomplekt |  | Russia | TRDN-40000/220 | Power Transformers | Y100248 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 230 | 38.5 | 11 | 40 | YN/YN/D-0-11 | 1 | CM2 III 500Y-72,5/C-10 191WR | ONAF
PS "TOF" | TOF Nornikel | Russia | TRDN-40000/110 | Power Transformers | Y100249 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 115 |  | 6,6-6,6 | 40 | YN/D-D-11-11 | 1 | CV III 350Y – 72.5 – 10191 W | ONAF
PS "TOF" | TOF Nornikel | Russia | TRDN-40000/110 | Power Transformers | Y100250 | 2015 | Siemens | Delivered | Network transformer | 3 Phase Design | Fluid | GK | Fan | 115 |  | 6,6-6,6 | 40 | YN/D-D-11-11 | 1 | CV III 350Y – 72.5 – 10191 W | ONAF